Biotechniques Course: Fundamentals & Applications

# 1. Math Application: Converting RCF to RPM

The protocol requires the sample to be centrifuged at 12,000 × g for 15 minutes. The available centrifuge has a fixed-angle rotor with a maximum radius of 8.5 cm.

Given:
Required RCF = 12,000 × g
Rotor radius (r) = 8.5 cm
Time = 15 minutes

Formula:
RCF = 1.118 × 10⁻⁵ × r × RPM²

Rearranging the formula:
RPM = √[RCF / (1.118 × 10⁻⁵ × r)]

Substitution:
RPM = √[12,000 / (1.118 × 10⁻⁵ × 8.5)]

Calculation:
RPM = √(12,000 / 0.00009503)
RPM ≈ 11237.26

Final answer: The centrifuge should be set to approximately 11,237 RPM to generate 12,000 × g at a rotor radius of 8.5 cm.

# 2. Protocol Design: Differential Centrifugation of Liver Tissue

Objective: To obtain an enriched fraction of intact mitochondria from fresh liver tissue. The strategy follows the differential centrifugation principle presented in the course: successively increasing centrifugal forces pellet progressively smaller cellular structures.

The g-forces below are practical estimated values for a teaching-level workflow rather than a single universal protocol. Exact conditions depend on tissue homogenization, rotor, buffer, centrifuge, temperature, and the desired mitochondrial purity.

FRESH LIVER TISSUE Keep the tissue cold and remove obvious connective tissue.

↓

HOMOGENIZE GENTLY IN COLD ISOTONIC BUFFER Break cells while minimizing mechanical damage to mitochondria.

↓

LOW-SPEED SPIN ~600 × g, 10 min Pellet unbroken cells, connective tissue, and nuclei. KEEP THE SUPERNATANT.

↓

TRANSFER SUPERNATANT Move the supernatant carefully to a clean, chilled tube without disturbing the pellet.

↓

MEDIUM-SPEED SPIN ~7,000–10,000 × g, 10–15 min Pellet the mitochondrial-enriched fraction together with some other organelles. KEEP THE PELLET.

↓

WASH MITOCHONDRIAL PELLET ~7,000 × g, 10 min Resuspend gently in cold buffer and centrifuge again to reduce contamination.

↓

MITOCHONDRIA-ENRICHED FRACTION Resuspend the final pellet gently in an appropriate cold buffer for downstream analysis.

## Why this sequence works

The first low-speed centrifugation removes the largest structures, especially nuclei and unbroken cells. The resulting supernatant still contains smaller organelles. A subsequent higher-speed centrifugation pellets mitochondria because they sediment faster than many smaller components. The final wash improves the enrichment by removing material that remains in the supernatant.

# 3. Research: Clinical Application of Density-Gradient Centrifugation

One real-world clinical and translational application is the isolation of peripheral blood mononuclear cells (PBMCs) from human blood using Ficoll-based density-gradient centrifugation. Anticoagulated blood is layered over Ficoll, a density-gradient medium, and centrifuged so that erythrocytes and granulocytes move through the gradient while the less-dense mononuclear cells form a distinct layer at the plasma–Ficoll interface; the PBMC layer is then collected and washed. PBMC isolation is routinely used as a preparation step for human immune-cell studies and clinical research, including downstream cellular and flow-cytometric analyses.

## Clinical Application –

Ficoll density-gradient centrifugation is used to isolate peripheral blood mononuclear cells (PBMCs), such as lymphocytes and monocytes, from human blood. During centrifugation, blood components separate according to density, leaving PBMCs as a visible layer at the plasma–Ficoll interface while denser cells move downward. The recovered PBMCs can then be washed and used for immune-cell analysis, including flow cytometry and other clinical research assays.

# 4. Final Answers at a Glance

| Exercise | Final Answer |
| --- | --- |
| Math Application | ≈ 11,237 RPM is required to generate 12,000 × g at r = 8.5 cm. |
| Differential Centrifugation | Low-speed clarification → retain supernatant → medium-speed mitochondrial pellet → wash → mitochondria-enriched fraction. |
| Clinical Density Gradient | Ficoll-based density-gradient centrifugation for isolation of human PBMCs from whole blood. |