Homework Exercise – Real-World Lab Scenario

# 1. Given Data

| Parameter | Value |
| --- | --- |
| Sample | Plasmid DNA extracted from a bacterial culture |
| Sample volume | 1 µL |
| Path length | 1 cm |
| A260 | 0.65 |
| A280 | 0.40 |
| Standard | A260 = 1.0 corresponds to 50 µg/mL dsDNA |

# 2. Task 1 – Calculate the DNA Concentration

For double-stranded DNA measured with a 1 cm path length, an A260 of 1.0 corresponds to 50 µg/mL. Therefore, the DNA concentration is calculated as:

DNA concentration = A260 × 50 µg/mL

= 0.65 × 50 µg/mL
= 32.5 µg/mL

Answer: The plasmid DNA concentration is 32.5 µg/mL. Because no dilution factor is given, a dilution factor of 1 is used.

# 3. Task 2 – Assess the Purity

The purity of the DNA sample is assessed using the A260/A280 ratio:

A260/A280 = 0.65 / 0.40 = 1.625 ≈ 1.63

Answer: The A260/A280 ratio is approximately 1.63. Pure double-stranded DNA is generally expected to have a ratio around 1.8 (roughly 1.7–1.9 depending on conditions). Therefore, the measured ratio is below the expected range for pure DNA.

# 4. Task 3 – Interpretation of Results

The plasmid DNA sample is not completely pure because its A260/A280 ratio is approximately 1.63, which is lower than the expected value of about 1.8 for pure double-stranded DNA. A low A260/A280 ratio indicates relatively increased absorbance at 280 nm and is most commonly associated with protein contamination in a DNA preparation.

Therefore, the most likely contaminant is residual protein from the bacterial culture or from the DNA extraction process.

# 5. Result Interpretation at a Glance

| Measured / Expected Result | Interpretation |
| --- | --- |
| A260 = 0.65 | Used to calculate DNA concentration. |
| A280 = 0.40 | Used to calculate the purity ratio. |
| A260/A280 = 1.63 | Below 1.7; indicates likely protein contamination. |
| Expected pure DNA ratio ≈ 1.8 | The sample is less pure than expected. |
| Most likely contaminant | Protein. |

# 6. Final Answers

| Question | Answer |
| --- | --- |
| 1. DNA concentration | 32.5 µg/mL |
| 2. A260/A280 ratio | 1.625 ≈ 1.63 |
| 3. Is the DNA pure? | No. The ratio is lower than the expected ~1.8 for pure dsDNA. |
| 4. Most likely contaminant | Protein contamination. |

# 7. Short Answer

The concentration of the plasmid DNA was calculated using the standard relationship that A260 = 1.0 corresponds to 50 µg/mL dsDNA. Thus, concentration = 0.65 × 50 = 32.5 µg/mL. The A260/A280 ratio was 0.65/0.40 = 1.63. Since pure dsDNA normally has a ratio of about 1.8, the sample is not completely pure, and the low ratio most likely indicates protein contamination.